Table 5.1 Course specification to doctoral study programs

| Course name: Water pollution control |  |  |
| --- | --- | --- |
| Teacher or teachers: Milenković S. Slobodan, Milićević B. Dragan, Ranđelović S. Marjan |  |  |
| Course status: Elective |  |  |
| Number of ECTS: 10 |  |  |
| Precondition courses: None |  |  |
| Educational goal Building students’ capacity for independent professional, research and scientific work in the area of communal hydrotechnics. |  |  |
| Educational outcomes Active use of knowledge in the field of transformation and water quality management. |  |  |
| Course content - Water quality (12) - Basic physical, chemical, biological indicators of water quality - Chemism of processes in the water - Biological processes in the water - Contemporary knowledge of water quality - Applied technologies for water quality transformation (16) - Unit operations of drinking water purification - Unit operations of communal and industrial waste water treatment - Sludge treatment methods in the waste water treatment facilities - Water quality transformation systems (16) - Technical and technological design of water quality transformation facilities. - Variant solutions and design criteria - Water quality transformation facilities - Control and management of the water quality transformation system (8) - System performance measurements - Regulation and optimization of the system operation - System operation management - Water quality transformation system operation in special conditions (8) |  |  |
| Literature 1. Miloje Milojević, Snabdevanje naselja vodom i kanalisanje, Belgrade, 1985. 2. Dejan Ljubisavljević: Prečišćavanje otpadnih voda, GF, Belgrade (1995) 3. Degremont: Tehnika prečišćavanja vode, Beograd (1974) 4. S.E. Jorgensen: Industrial waste water management, 1979 5. Ross McKinney: Microbiology for Sanitary Engineers, J. Willy, 1971. |  |  |
| Number of active teaching classes (weekly) | Lectures: 4 | Study research work: 0 |
| Teaching methods Lectures, mentor work, consultations, research work in laboratory and in the field, term paper. |  |  |
| Knowledge evaluation (maximum 100 points) Pre-examination obligations Points Final exam Points Term paper 55 Оral part of the exam 45 |  |  |